## NAESB
Type | Category | Data Element | Comment | SPP
DER Aggregation Data | Identity | DER Aggregation ID |  | N/A
DER Aggregation Data | Locational | Locational information |  | N/A
DER Aggregation Data | Locational | Geographic location |  | N/A
DER Aggregation Data | Locational | Longitude and latitude (conditionally required i.e. offshore wind) |  | Y
DER Aggregation Data | Locational | Street name and number (conditionally required i.e. land-based facilities) |  | N/A
DER Aggregation Data | Locational | City (conditionally required i.e. land-based facilities) |  | N/A
DER Aggregation Data | Locational | State (required) |  | N/A
DER Aggregation Data | Locational | County |  | N/A
DER Aggregation Data | Locational | Country (required) |  | N/A
DER Aggregation Data | Locational | Province (required) |  | N/A
DER Aggregation Data | Locational | Apartment number |  | N/A
DER Aggregation Data | Locational | Zonal information (network) |  | N/A
DER Aggregation Data | Locational | Load zone |  | Y
DER Aggregation Data | Locational | Load aggregation point | Point of Interconnection | Y
DER Aggregation Data | Locational | Reserve zone |  | Y
DER Aggregation Data | Locational | Capacity zone |  | N/A
DER Aggregation Data | Locational | Market nodal information (p-node) (may or may not be a single p-node) |  | Y
DER Aggregation Data | Operational | Default distribution factors (for multi-nodal DER aggregations) |  | N/A
DER Aggregation Data | Locational | Electrical nodal information (e-node aka service points (RTO/ISO point of interconnection) |  | Y
DER Aggregation Data | Entity | Distribution Utility |  | Y
DER Aggregation Data | Entity | Energy Authority (relevant electric retail regulatory authority) |  | Y
DER Aggregation Data | Entity | Load Serving Entity |  | Y
DER Aggregation Data | Entity | Market Participant/Aggregator Name |  | Y
DER Aggregation Data | Entity | Metering agent |  | Y
DER Aggregation Data | Entity | Balancing Area |  | Y
DER Aggregation Data | Operational | Pseudo-ties/dynamic schedules |  | Y
DER Aggregation Data | Locational | Service location (maybe point of interconnection?) | Point of Interconnection | Y
DER Aggregation Data | Identity | Customer account |  | N/A
DER Aggregation Data | Locational | Service delivery point |  | Y
DER Aggregation Data | Attestation | Attestation/certificates |  | Y
DER Aggregation Data | Attestation | DER aggregation would not result in double counting (yes/no) |  | Y
DER Aggregation Data | Attestation | Distribution utility/load serving entity reliability concern (yes/no) | Response not required, if no response RTO proceeds | Y
DER Aggregation Data | Attestation | Relevant electric retail regulatory authority allows (yes/no) |  | Y
DER Aggregation Data | Entity | Operational contact |  | Y
DER Aggregation Data | Entity | Planning contact |  | Y
DER Aggregation Data | Information | Ownership of the resource (jointly owned or not) |  | Y
DER Aggregation Data | Information | Operational characteristics of the aggregation |  | Y
DER Aggregation Data | Resource Descriptor | Nameplate capacity in megawatts |  | Y
DER Aggregation Data | Resource Descriptor | Ramp rate |  | Y
DER Aggregation Data | Resource Descriptor | Response time |  | Y
DER Aggregation Data | Resource Descriptor | Maximum run time |  | Y
DER Aggregation Data | Resource Descriptor | Minimum run time |  | Y
DER Aggregation Data | Resource Descriptor | DER aggregation type (homogeneous or heterogeneous) | can be in form of steady state model data | Y
DER Aggregation Data | Resource Descriptor | Heterogeneous type, including DER type comprising the aggregation | can be in form of steady state model data | Y
DER Aggregation Data | Resource Descriptor | Number of DERs in the aggregation | can be in form of steady state model data | Y
DER Aggregation Data | Resource Descriptor | DER aggregation profile (historical or expected DER aggregation output with active and reactive power profiles) | can be in form of steady state model data | Y
DER Aggregation Data | Resource Descriptor | Dispatchable energy resource (yes/no) |  | Y
DER Aggregation Data | Resource Descriptor | Ability to reverse direction (supply vs. demand switching) | can be in form of steady state model data | Y
DER Aggregation Data | Resource Descriptor | Voltage control (yes/no; volt-r) | can be in form of dynamic model | Y
DER Aggregation Data | Resource Descriptor | Frequency control | can be in form of dynamic model | Y
DER Aggregation Data | Resource Descriptor | Inertial control | can be in form of dynamic model | Y
DER Aggregation Data | Resource Descriptor | Feeder voltage | can be in form of dynamic model | Y
DER Aggregation Data | Resource Descriptor | Feeder impedance – distribution system equivalent feeder impedance | can be in form of steady state model data | Y
DER Aggregation Data | Resource Descriptor | Reactive support | can be in form of dynamic model | Y
DER Aggregation Data | Resource Descriptor | Total energy capacity/maximum state of charge (megawatt hours or kilowatt hours) |  | Y
DER Aggregation Data | Resource Descriptor | Market product eligibility (capacity, energy, regulation, etc.) |  | Y
DER Aggregation Data | Resource Descriptor | Telemetry infrastructure to communicate operational characteristics |  | Y
DER Aggregation Data | Resource Descriptor | Metering infrastructure |  | Y
DER Aggregation Data | Resource Descriptor | Efficiency rating |  | N/A
DER Aggregation Data | Resource Descriptor | Battery technology |  | N/A
DER Aggregation Data | Resource Descriptor | Battery performance over time |  | N/A
DER Aggregation Data | Resource Descriptor | Solar panel performance over time |  | N/A
DER Aggregation Data | Resource Descriptor | Manufacturer of DER |  | N/A
DER Aggregation Data | Resource Descriptor | Types of communication protocols supported |  | N/A
DER Aggregation Data | Resource Descriptor | Operating status |  | Y
DER Aggregation Data | Resource Descriptor | Known/planned outages or maintenance |  | Y
DER Aggregation Data | Resource Descriptor | Duration of outage or maintenance |  | Y
DER Aggregation Data | Resource Descriptor | Start/end time of outage or maintenance |  | Y
DER Aggregation Data | Resource Descriptor | Mobility flag |  | Y
DER Aggregation Data | Resource Descriptor | Single phase/three-phase fault indicators |  | N/A
DER Aggregation Data | Resource Descriptor | Loss of line faults (transformer configuration) |  | N/A
DER Aggregation Data | Resource Descriptor | Weatherization applications |  | N/A
DER Aggregation Data | Resource Descriptor | Designated dispatch entity |  | N/A
DER Aggregation Data | Resource Descriptor | Nominal amperage/voltage |  | Y
DER Aggregation Data | Resource Descriptor | Heat rate |  | Y
DER Aggregation Data | Resource Descriptor | Transient ability limits | can be in form of dynamic model | Y
DER Aggregation Data | Resource Descriptor | Number of resources in the aggregation |  | Y
DER ID | Identity | DER ID |  | N/A
DER ID | Locational | Geographic location |  | N/A
DER ID | Locational | Longitude and latitude (conditionally required i.e. offshore wind) |  | Y
DER ID | Locational | Street name and number (conditionally required i.e. land-based facilities) |  | N/A
DER ID | Locational | City (conditionally required i.e. land-based facilities) |  | N/A
DER ID | Locational | State (required) |  | N/A
DER ID | Locational | County |  | N/A
DER ID | Locational | Country (required) |  | N/A
DER ID | Locational | Province (required) |  | N/A
DER ID | Locational | Apartment number |  | N/A
DER ID | Locational | Load zone |  | Y
DER ID | Locational | Reserve zone |  | N/A
DER ID | Locational | Capacity zone |  | N/A
DER ID | Locational | Market nodal information (p-node) |  | Y
DER ID | Resource Descriptor | Meter information |  | Y
DER ID | Locational | Substation |  | Y
DER ID | Locational | Feeder/circuit |  | Y
DER ID | Resource Descriptor | Phase information |  | N/A
DER ID | Entity | Distribution Utility |  | Y
DER ID | Entity | Energy Authority (relevant retail electric regulatory authority) |  | Y
DER ID | Entity | Load Serving Entity |  | Y
DER ID | Locational | Balancing Area |  | Y
DER ID | Locational | Service location |  | Y
DER ID | Entity | Customer account |  | N/A
DER ID | Locational | Service delivery point |  | Y
DER ID | Locational | Retail rate (net metering, dynamic pricing, etc.) |  | N/A
DER ID | Resource Descriptor | Ownership of the resource (jointly owned or not) |  | Y
DER ID | Entity | Operational contact |  | Y
DER ID | Entity | Planning contact |  | N/A
DER ID | Entity | Asset owner contact |  | N/A
DER ID | Resource Descriptor | Operational characteristics of resources comprising aggregation |  | N/A
DER ID | Resource Descriptor | DER type |  | Y
DER ID | Resource Descriptor | Dispatchable energy resource (yes/no) |  | Y
DER ID | Resource Descriptor | Nameplate capacity of a DER (in megawatts or kilowatts) |  | Y
DER ID | Resource Descriptor | Battery technology |  | Y
DER ID | Resource Descriptor | Battery performance over time |  | Y
DER ID | Resource Descriptor | Available Energy and Available Storage (in MWh) |  | Y
DER ID | Resource Descriptor | State of Charge |  | Y
DER ID | Resource Descriptor | Maximum State of Charge |  | Y
DER ID | Resource Descriptor | Minimum State of Charge |  | Y
DER ID | Resource Descriptor | Maximum Charge Limit |  | Y
DER ID | Resource Descriptor | Maximum Discharge Limit |  | Y
DER ID | Resource Descriptor | Maximum Charge Rate |  | Y
DER ID | Resource Descriptor | Maximum Discharge Rate |  | Y
DER ID | Resource Descriptor | Minimum Charge Time |  | Y
DER ID | Resource Descriptor | Maximum Charge Time |  | Y
DER ID | Resource Descriptor | Minimum Run Time |  | Y
DER ID | Resource Descriptor | Maximum Run Time |  | Y
DER ID | Resource Descriptor | Discharge Ramp Rate |  | Y
DER ID | Resource Descriptor | Charge Ramp Rate |  | Y
DER ID | Resource Descriptor | Minimum Discharge Limit |  | Y
DER ID | Resource Descriptor | Minimum Charge Limit |  | Y
DER ID | Resource Descriptor | Performance over time |  | N/A
DER ID | Resource Descriptor | Number/capacity of PV cells |  | N/A
DER ID | Resource Descriptor | Autotracking capability |  | N/A
DER ID | Resource Descriptor | Obstructions |  | Y
DER ID | Resource Descriptor | Number/capacity of turbines |  | Y
DER ID | Resource Descriptor | Demand reduction capability |  | Y
DER ID | Resource Descriptor | Known operational constraints (i.e. analogue to permitting restrictions, environmental restrictions, contractual limit on when individual DER in aggregation can be dispatched) |  | N/A
DER ID | Resource Descriptor | Time delay to initiate response (start time) |  | N/A
DER ID | Resource Descriptor | Ability to reverse direction (supply vs. demand switching) |  | N/A
DER ID | Resource Descriptor | Voltage control (yes/no; volt-r) |  | N/A
DER ID | Resource Descriptor | Ride through capability (yes/no) |  | N/A
DER ID | Resource Descriptor | Frequency control |  | N/A
DER ID | Resource Descriptor | Inertial control |  | N/A
DER ID | Resource Descriptor | Feeder voltage |  | N/A
DER ID | Resource Descriptor | Reactive support |  | N/A
DER ID | Resource Descriptor | Sensitivity to ambient weather conditions |  | N/A
DER ID | Resource Descriptor | Relevant weather station id |  | N/A
DER ID | Resource Descriptor | Total energy capacity/maximum state of charge (megawatt hours or kilowatt hours) |  | N/A
DER ID | Resource Descriptor | Telemetry infrastructure to communicate operational characteristics |  | N/A
DER ID | Resource Descriptor | Metering infrastructure |  | N/A
DER ID | Resource Descriptor | Efficiency rating |  | N/A
DER ID | Resource Descriptor | Manufacturer of DER |  | N/A
DER ID | Resource Descriptor | Types of communication protocols supported |  | N/A
DER ID | Resource Descriptor | Applicable operating status conditions |  | N/A
DER ID | Resource Descriptor | Mobility flag |  | N/A
DER ID | Resource Descriptor | Single phase/three-phase fault indicators |  | N/A
DER ID | Resource Descriptor | Loss of line faults (transformer configuration) |  | N/A
DER ID | Resource Descriptor | Weatherization applications |  | N/A
DER ID | Resource Descriptor | Nominal amperage/voltage |  | N/A
DER ID |  | Distribution level data |  | N/A
DER ID |  | Interconnection data |  | N/A
DER ID |  | Designated dispatch entity |  | N/A