## Sheet1
Data Field | Category | Data Field | Category
First Name | Owner/Contact | Critical load compliance | DER
Middle Name | Owner/Contact | Telemetry compliance | DER
Last Name | Owner/Contact | Double-counting compliance | DER
Suffix | Owner/Contact | Program/Product compliance | DER
Address 1 | Owner/Contact | DER Type | DER
Address 2 | Owner/Contact | Synchronous or Non-Synchronous | DER
Apartment Number or Suite | Owner/Contact | Manufacturer | DER
City | Owner/Contact | Serial Number | DER
County | Owner/Contact | Manufacture Date | DER
State | Owner/Contact | Max Injection Capacity | DER
Zip Code | Owner/Contact | Max Withdrawal Capacity | DER
Province | Owner/Contact | Manufacturer | DER
Country | Owner/Contact | Serial Number | DER
Phone Number (primary) | Owner/Contact | Voltage Control | DER
Phone Number (secondary) | Owner/Contact | Frequency Control | DER
Email | Owner/Contact | Inertial Control | DER
Premise Unique ID | Site/POI | Ride-through capability | DER
Premise is Designated Critical Care or Critical Load? | Site/POI | Number of Panels | DER - Solar
Latitude | Site/POI | Tracking Capability | DER - Solar
Longitude | Site/POI | Number of Turbines | DER - Wind
Utility Account Number | Site/POI | Vehicle Identification Number (VIN) | DER - EV
Manufacturer update acknowledgement | Site/POI | Maximum State of Charge | DER - Battery
Data privacy agreement acknowledgement | Site/POI | Minimum State of Charge | DER - Battery
Distribution Utility Service Provider | Site/POI | Maximum Charge Limit | DER - Battery
Aggregator | Site/POI | Maximum Discharge Limit | DER - Battery
Transmission System Operator | Site/POI | Maximum Charge Rate | DER - Battery
Independent System Operator | Site/POI | Maximum Discharge Rate | DER - Battery
Competative Retail Supplier | Site/POI | Minimum Charge Time | DER - Battery
Meter ID | Site/POI | Maximum Charge Time | DER - Battery
Current Tariff | Site/POI | Minimum Run Time | DER - Battery
Phase on System | Site/POI | Maximum Run Time | DER - Battery
Distribution Point of Connection | Site/POI | Discharge Ramp Rate | DER - Battery
Load Serving Transformer | Site/POI | Charge Ramp Rate | DER - Battery
Feeder Id | Site/POI | Minimum Discharge Limit | DER - Battery
Feeder is subject to UFLS and/or UVLS | Site/POI | Minimum Charge Limit | DER - Battery
Substation Name | Site/POI | Demand Response Type | DR
Intermediate Feeder | Site/POI | Max Demand Response Capacity | DR
Intermediate Substation Transformer Name | Site/POI
Intermediate Substation Name | Site/POI
Transmission Point of Interconnection | Site/POI
ISO/Transmission Meter ID | Site/POI
Node/Load Zone | Site/POI
Sub Node/Sub Load Zone | Site/POI
Interconnection Agreement | Site/POI
Proof of Insurance | Site/POI
Real power capability (minimum and maximum) | Site/POI
Reactive power capability (minimum and maximum) | Site/POI
Fault Current Contributions | Site/POI